## Sheet1
Material | Created By | Client lvl | Mat. Type | Industry | Matl Group | PV key | Material Description | Purchase Order Text | Created On | Unit | xx
550001195 | LAKSGOP |  | ZSC1 | P | Z015 |  | Ascentis express (150*4.6)mm 2.7um, | Ascentis express (150*4.6)mm 2.7um, P.N. USH W006639, cat # 53829-U | 2014-06-05 | NOS | 1
550014388 | SHWSAL |  | ZSC1 | P | Z022 |  | MO TGF B 1 COATED ELISA | MO TGF B 1 COATED ELISA, 96T- BMS608-4 | 2022-07-29 | NOS | 1
550011318 | SHRUHO |  | ZSC1 | P | Z022 |  | bottle-top vacuum filters | bottle-top vacuum filters | 2021-07-23 | PAC | 1
550024502 | HIMAPR |  | ZSC1 | P | Z022 | ZM00 | E1020FSA10SP02A, Primary stage Depth Fi | Primary stage Depth Filter 10SP02A E1020FSA10SP02A | 2024-10-17 | NOS | 1
550014441 | SHWSAL |  | ZSC1 | P | Z022 |  | Elemental Impurities according to ICH Q | Elemental Impurities according to ICH Q3D oral, Standard 1 SKU No.: 19041-100ML | 2022-08-09 | ML | 1
550014390 | SHWSAL |  | ZSC1 | P | Z022 |  | Fmoc-L-Ala-TentaGel R HMPA resin | Fmoc-L-Ala-TentaGel R HMPA resin Product No:RA1501 | 2022-07-29 | G | 1
550013892 | SHWSAL |  | ZSC1 | P | Z022 |  | Fmoc-Trp-Wang resin | Fmoc-Trp-Wang resin (Cat Log:01918) | 2022-06-01 | G | 1
550023403 | HIMAPR |  | ZSC1 | P | Z022 | ZM00 | HU IL-12P40 SIMPLEX 96 TESTS, Cat#EPX01 | HU IL-12P40 SIMPLEX 96 TESTS, Cat#EPX01A-12090-901 | 2024-08-21 | NOS | 1
550018343 | PRATHVS |  | ZSC1 | P | Z022 |  | InertSustain, C18, 5µ, 150*4.6 mm P.N: | InertSustain, C18, 5µ, 150*4.6 mm P.N: 5020-07345 | 2023-08-24 | NOS | 1
550014387 | SHWSAL |  | ZSC1 | P | Z022 |  | Mouse TGF beta 1- Abcam | Mouse TGF beta 1 ELISA Kit- ab119557 | 2022-07-29 | NOS | 1
550005141 | SHRUHO |  | ZSC1 | P | Z022 |  | Rotor Seal; Cat#228-52139 | Â Rotor Seal; Cat#228-52139 | 2019-07-18 | NOS | 1
550014454 | SHWSAL |  | ZSC1 | P | Z022 |  | WATER MOLECULAR BIOLOGY (1*500ml) | WATER MOLECULAR BIOLOGY (1*500ml) cat#VWRL0201-0500 | 2022-08-10 | NOS | 1
550016387 | VINAKUMA |  | ZSC1 | P | Z022 |  | "13mmRubber Stoppers # 19700004 | '13mmRubber Stoppers # 19700004 '' | 2023-04-24 | PAC | 1
550022700 | VINAKUMA |  | ZSC1 | P | Z022 |  | "2ml HPLC Sample Vials and Closures | '2ml HPLC Sample Vials and Closures (Combipack)-9mm screw top celar vials-10x100nos-Borosil | 2024-07-09 | NOS | 1
550017581 | VINAKUMA |  | ZSC1 | P | Z022 |  | "5-Ethyl-2-(5-((4-(2-hydroxyethyl) piper | 5-Ethyl-2-(5-((4-(2-hydroxyethyl) piperazin-1-yl) sulfonyl)-2- propoxyphenyl)-7-propyl-1,5-dihydro-4H-pyrrolo[3,2-d] pyrimidin-4-one dihydrochloride (MDF) | 2023-06-26 | G | 1
550021781 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "96 Round Deep Well Plate,2.0mL | 96 Round Deep Well Plate,2.0mL, U bottom, Sterile, Ind.Wrapped, 50 plates/case | 2024-05-16 | PAC | 1
550022539 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "ACETEXL-179-0502U - ACEEXCEL 1.7 C18-AR | ACETEXL-179-0502U - ACEEXCEL 1.7 C18-AR50X2.1MM 179-0502U | 2024-06-25 | NOS | 1
550022538 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "ACETEXL-179-1002U - ACEEXCEL 1.7 C18-AR | ACETEXL-179-1002U - ACEEXCEL 1.7 C18-AR100x2.1MM 1 * 1 items,Avantor 179-1002U'' | 2024-06-25 | NOS | 1
550016497 | VINAKUMA |  | ZSC1 | P | Z022 |  | "ACETONITRILE, CAT# BAKR9017-03 | 'ACETONITRILE, CAT# BAKR9017-03 '' | 2023-04-27 | PAC | 1
550016514 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Acetonitrile, CAT# BAKR9829-03 LCMS | 'Acetonitrile, CAT# BAKR9829-03 LCMS '' | 2023-04-28 | PAC | 1
550018668 | VINAKUMA |  | ZSC1 | P | Z022 |  | "ACQUITY UPLC BEH SHIELD RP18 COLUMN | 'ACQUITY UPLC BEH SHIELD RP18 COLUMN,CAT# 186003376,130Å, 1.7 µM, 2.1 MM X 150 MM, 1/PKG ,WATERS X 150 MM, 1/PKG ,WATERS '' | 2023-10-04 | NOS | 1
550020405 | HARSHISH |  | ZSC1 | P | Z022 |  | "Acrodisc® Syringe Filters with PVDF Mem | Acrodisc® Syringe Filters with PVDF Membrane - 25mmx 0.45 µm (50pkt)-4408T | 2024-02-09 | PAC | 1
550016288 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Agilent Eclipse XDB-C8, 3.5um, 4.6*150m | 'Agilent Eclipse XDB-C8, 3.5um, 4.6*150mm cat# 963967-906 '' | 2023-04-14 | NOS | 1
550021642 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "ANSELL AlphaTec 02100 Highly chemical-r | ANSELL AlphaTec 02100 Highly chemical-resistantgloves, AlphaTec 02100'' | 2024-05-07 | NOS | 1
550021643 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "ANSELL AlphaTec, 38520 hand gloves, Che | ANSELL AlphaTec, 38520 hand gloves, Chemical-resistant butylgloves, AlphaTec, 38520'' | 2024-05-07 | NOS | 1
550022705 | VINAKUMA |  | ZSC1 | P | Z022 |  | "B1000-25Ml Beakers,Low Form | B1000-25Ml Beakers,Low Form,with Spout-Borosil | 2024-07-09 | NOS | 1
550022702 | VINAKUMA |  | ZSC1 | P | Z022 |  | "B1501-3Ltr-Bottles(GL-45),Reagent | B1501-3Ltr-Bottles(GL-45),Reagent,With Screw Cap-Borosil | 2024-07-09 | NOS | 1
550022704 | VINAKUMA |  | ZSC1 | P | Z022 |  | "B1501-5Ltr-Bottles(GL-45),Reagent | B1501-5Ltr-Bottles(GL-45),Reagent,With Screw Cap-Borosil | 2024-07-09 | NOS | 1
550022534 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "Bangs-Quantumâ„¢ APC MESF-A - 1mL (20 t | Bangs-Quantumâ„¢ APC MESF-A - 1mL (20 tests) SKU : 823'' | 2024-06-25 | NOS | 1
550005142 | SHRUHO |  | ZSC1 | P | Z022 |  | "Biopsy Cassettes-A84210088 with lidsThe | 'Biopsy Cassettes-A84210088 with lidsThermo Scientific | 2019-07-18 | NOS | 1
550017192 | VINAKUMA |  | ZSC1 | P | Z022 |  | "BSA, CAT# 3117332001 | 'BSA, CAT# 3117332001 '' | 2023-05-30 | BT | 1
550016285 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Capto-Butyl, CAT# 17545902 | 'Capto-Butyl, CAT# 17545902 '' | 2023-04-13 | NOS | 1
550016465 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Carrier Ampholytes solution (pH 5-8) ph | 'Carrier Ampholytes solution (pH 5-8) pharmalyte, CAT# 17-0453-01 '' | 2023-04-26 | PAC | 1
550022569 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "Cartridge make Sciex | 'Cartridge make Sciex Cat no-144738'' | 2024-06-28 | NOS | 1
550016386 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Citric acid, monohydrate # 0115-01 | 'Citric acid, monohydrate # 0115-01 '' | 2023-04-24 | PAC | 1
550014880 | SHWSAL |  | ZSC1 | P | Z022 |  | "CLEAR GLASS 15x45mm (4ml/1 DRAM) HIGH R | CLEAR GLASS 15x45mm (4ml/1 DRAM) HIGH RECOVERY VIALS WITH 13-425 GPI THREAD FINISH.PT#: HR1545C-PermaBond28x15mm &7mm-B | 2022-10-31 | EA | 1
550023140 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "Complement C5 Protein, Cynomolgus | Complement C5 Protein, Cynomolgus, Recombinant (His Tag) 1 mg Cat.No:90914-C08H2-1 mg | 2024-08-05 | NOS | 1
550004566 | LAVAMA |  | ZSC1 | P | Z022 |  | "Diagnostic Bottles W/Closures, PETG,20m | 'Diagnostic Bottles W/Closures, PETG,20ml CAT.NO:2035-0020 | 2018-10-22 | NOS | 1
550016469 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Dialysis Tubing, 3.5K MWCO, 35 mm I.D. | 'Dialysis Tubing, 3.5K MWCO, 35 mm I.D. CAT# 88244 '' | 2023-04-26 | PAC | 1
550021980 | HIMAPR |  | ZSC1 | P | Z022 | ZM00 | "Dimethyl sulfoxide PurSolv Plus,GC-Head | ''Dimethyl sulfoxide PurSolv Plus,GC-Headspace tested, â‰¥99.9% PSR36268-500ML'' | 2024-05-27 | NOS | 1
550016396 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Disodium hydrogen phosphate dihydrate, | 'Disodium hydrogen phosphate dihydrate, #1370369012 '' | 2023-04-24 | PAC | 1
550017188 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Dithiothreitol, CAT# R0862 | 'Dithiothreitol, CAT# R0862 '' | 2023-05-30 | BT | 1
550016513 | VINAKUMA |  | ZSC1 | P | Z022 |  | "EDTA Na .2H2O # 45808 | 'EDTA Na .2H2O # 45808 '' | 2023-04-28 | PAC | 1
550022006 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "Eppendorf™ Combitips Advanced™ Pipetter | Eppendorf™ Combitips Advanced™ Pipetter Tips - Standard, Sterile(Cat- 13683715 | 2024-05-27 | CV | 1
550019721 | SHWSAL |  | ZSC1 | P | Z022 | ZM00 | "ER-GFP (Puro) Lentivirus in PBS 1x10^8 | ER-GFP (Puro) Lentivirus in PBS 1x10^8 IFU/ml x 200 ul cat# LVP973-PPBS | 2023-12-27 | NOS | 1
550019722 | SHWSAL |  | ZSC1 | P | Z022 | ZM00 | "ER-Luc (Puro) Lentivirus in PBS 1x10^8 | ER-Luc (Puro) Lentivirus in PBS 1x10^8 IFU/ml x 200 ul cat# LVP975-PPBS | 2023-12-27 | NOS | 1
550017777 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Ethanol (20 bottles / pack), CAT# 1170 | 'Ethanol (20 bottles / pack), CAT# 1170 UN '' | 2023-07-12 | PAC | 1
550016394 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Ethanol, #111WORLD200 | 'Ethanol, #111WORLD200 '' | 2023-04-24 | PAC | 1
550016274 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Formic Acid (FA), LCMS Grade, Pierce, C | 'Formic Acid (FA), LCMS Grade, Pierce, CAT# 85178 '' | 2023-04-13 | NOS | 1
550025238 | MADHKAK |  | ZSC1 | P | Z022 | ZM00 | "FOXP3 Antibody Size: 100ul | FOXP3 Antibody Size: 100ul Cat.No: HY-P80135 | 2024-11-18 | NOS | 1
550025771 | MADHKAK |  | ZSC1 | P | Z022 | ZM00 | "G150 ,Pack Size:Size: 5mg | G150 ,Pack Size:Size: 5mg,Cat#HY-128583 | 2024-12-12 | NOS | 1
550022696 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "GC Column Cyclodex-B 30m,0.25µm | GC Column Cyclodex-B 30m,0.25µm-113-2532 | 2024-07-08 | NOS | 1
550016257 | PRAJKR |  | ZSC1 | P | Z022 |  | "GelCode Blue Safe Protein Stain, CAT# 1 | 'GelCode Blue Safe Protein Stain, CAT# 1860983 '' | 2023-04-11 | NOS | 1
550017189 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Glycine , CAT# AAJ1640736 | 'Glycine , CAT# AAJ1640736 '' | 2023-05-30 | BT | 1
550022509 | HIMAPR |  | ZSC1 | P | Z022 | ZM00 | "Greiner Bio-One 384 Well Polypropylene | Greiner Bio-One 384 Well Polypropylene Flat Bottom Non-Sterile Microplates make:Grenier cat#781201 | 2024-06-24 | NOS | 1
550021983 | HIMAPR |  | ZSC1 | P | Z022 | ZM00 | "Heptane PurSolv for GC, â‰¥99% PSR407 | ''Heptane PurSolv for GC, â‰¥99% PSR40708-500ML'' | 2024-05-27 | NOS | 1
550016700 | VINAKUMA |  | ZSC1 | P | Z022 |  | "HPLC grade water, CAT# 270733-1L | 'HPLC grade water, CAT# 270733-1L '' | 2023-05-12 | BT | 1
550022744 | HIMAPR |  | ZSC1 | P | Z022 | ZM00 | "HR2-070 Slice pH (0.5 ml Deep Well bloc | 'HR2-070 Slice pH (0.5 ml Deep Well block format),CAT: HR2-070 '' | 2024-07-10 | NOS | 1
550023275 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "Human CA125/MUC16 Alexa Fluor 647 MAb | 'Human CA125/MUC16 Alexa Fluor 647 MAb (Clone986808)-100µG, Cat#FAB5609R-100UG'' | 2024-08-09 | NOS | 1
550018002 | RACHANGA |  | ZSC1 | P | Z022 |  | "Human CD20 / MS4A1 Protein CAT# CD0-H52 | 'Human CD20 / MS4A1 Protein CAT# CD0-H52H3 '' | 2023-07-24 | PAC | 1
550021900 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "Human Claudin-3 Phycoerythrin MAb (Clon | ''Human Claudin-3 Phycoerythrin MAb (Clone 385021) (100 Tests) cat#FAB4620P make:R&D Systems'' | 2024-05-22 | NOS | 1
550023273 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "Human Claudin-6 Alexa Fluor 488 Antbody | 'Human Claudin-6 Alexa Fluor 488 Antbody (Clone342927) -100µG, Cat#FAB3656G-10 0UG'' | 2024-08-09 | NOS | 1
550022254 | HIMAPR |  | ZSC1 | P | Z022 | ZM00 | "Human IgM (myeloma,Rockland (009-0107) | Human IgM (myeloma,Rockland (009-0107) | 2024-06-10 | MG | 1
550012734 | NANDAKUK |  | ZSC1 | P | Z015 |  | "Human/Mouse/Rat/Porcine/Canine TGF-beta | 'Human/Mouse/Rat/Porcine/Canine TGF-beta 1 Quantikine ELISA'' Cat# SB100C | 2021-12-09 | NOS | 1
550016395 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Hydrochloric acid, #9544-02 | 'Hydrochloric acid, #9544-02 '' | 2023-04-24 | PAC | 1
550017778 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Hydrochloric acid, CAT# 07104-1L | 'Hydrochloric acid, CAT# 07104-1L '' | 2023-07-12 | PAC | 1
550022418 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "Hypersil Chiral IAT 250X30X5um,42905-25 | Hypersil Chiral IAT 250X30X5um,42905-259370A | 2024-06-18 | NOS | 1
550020209 | SHWSAL |  | ZSC1 | P | Z022 |  | "InertSustain C18 5um, 4.6 X 250mm | InertSustain C18 5um, 4.6 X 250mm, part number-5020-07346, LCGC | 2024-01-25 | NOS | 1
550016519 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Info: Research® plus, single-channel, f | 'Info: Research® plus, single-channel, fixed, 1000µL, blue, CAT# 4.661 853 '' | 2023-04-28 | PAC | 1
550022387 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "IsoPropanol LCMS Grade Make Fisher " | ''IsoPropanol LCMS Grade Make Fisher A461'' | 2024-06-17 | L | 1
550021982 | HIMAPR |  | ZSC1 | P | Z022 | ZM00 | "Isopropyl Alcohol PurSolv for GC, â‰¥99 | ''Isopropyl Alcohol PurSolv for GC, â‰¥99% PSR40853-500ML'' | 2024-05-27 | NOS | 1
550016263 | RACHANGA |  | ZSC1 | P | Z022 |  | "KIMBLE 60965D-1 15*45mm 1 Dram Shell Vi | 'KIMBLE 60965D-1 15*45mm 1 Dram Shell Vial w/Closure Opticlear, cat# 60965D-1 '' | 2023-04-12 | PAC | 1
550016393 | VINAKUMA |  | ZSC1 | P | Z022 |  | "LB Broth, Lennox, CAT# 240230 | 'LB Broth, Lennox, CAT# 240230 '' | 2023-04-24 | PAC | 1
550021562 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "LONG CUFF GLOVES POWDER FREE Size : Med | LONG CUFF GLOVES POWDER FREE Size : Medium 18'' | 2024-05-03 | NOS | 1
550017216 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Mabselect Sure LX, CAT# 17-5474-02 | 'Mabselect Sure LX, CAT# 17-5474-02 '' | 2023-06-01 | PAC | 1
550016466 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Maurice Sample vials 0.2ml, CAT# 046-08 | 'Maurice Sample vials 0.2ml, CAT# 046-083 '' | 2023-04-26 | PAC | 1
550026421 | MADHKAK |  | ZSC1 | P | Z022 | ZM00 | "Maxiamp 0.1Ml Low Profile Tube Strips - | 'Maxiamp 0.1Ml Low Profile Tube Strips With Cap Clear Ultra Clear Cap (Pack Of 125 Nos)(Compatiable With Biorad Brand'' cat.no T611030 | 2025-01-24 | PAC | 1
550020557 | SHWSAL |  | ZSC1 | P | Z022 |  | "MAXIAMP 0.2ML TUBE STRIPS WITH ATTACHED | 'MAXIAMP 0.2ML TUBE STRIPS WITH ATTACHED CAP CLEAR ULTRA CLEAR CAP (PACK OF 120 NOS) Cat.No: T610080'' | 2024-02-22 | NOS | 1
550016516 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Methanol, CAT# BAKR9093-68 HPLC | 'Methanol, CAT# BAKR9093-68 HPLC '' | 2023-04-28 | PAC | 1
550016685 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Methanol, CAT# M0140 | 'Methanol, CAT# M0140 '' | 2023-05-11 | L | 1
550021866 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "Mouse Monoclonal ErbB2/HER2 Antibody (H | ''Mouse Monoclonal ErbB2/HER2 Antibody (HRB2/451) [PE] - 0.1ML - Cat.No:NBP2-33064PE NBP2-33064PE'' | 2024-05-21 | NOS | 1
550021979 | HIMAPR |  | ZSC1 | P | Z022 | ZM00 | "N,N-Dimethylformamide PurSolv Plus ,GCH | ''N,N-Dimethylformamide PurSolv Plus ,GCHeadspace tested, â‰¥99.9% PSR36269-500ML '' | 2024-05-27 | NOS | 1
550021984 | HIMAPR |  | ZSC1 | P | Z022 | ZM00 | "N-Hexane PurSolv for GC PSR41110-500M | ''N-Hexane PurSolv for GC PSR41110-500ML '' | 2024-05-27 | NOS | 1
550021981 | HIMAPR |  | ZSC1 | P | Z022 | ZM00 | "N-Methyl-2-Pyrollidone PurSolv Plus ,GC | ''N-Methyl-2-Pyrollidone PurSolv Plus ,GCHeadspace tested, â‰¥99.9% PSR41586-500ML'' | 2024-05-27 | NOS | 1
550016701 | VINAKUMA |  | ZSC1 | P | Z022 |  | "NuPAGE Sample reducing agent 10X, CAT# | 'NuPAGE Sample reducing agent 10X, CAT# NP0009 '' | 2023-05-12 | BT | 1
550017772 | VINAKUMA |  | ZSC1 | P | Z022 |  | "OglyZOR Lyophilized 2000 units, CAT# G2 | 'OglyZOR Lyophilized 2000 units, CAT# G2-OG1-020 '' | 2023-07-12 | PAC | 1
550016284 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Pellicon® XL50 with Ultracel® 100 kDa M | 'Pellicon® XL50 with Ultracel® 100 kDa Membrane, C screen, 50 cm², CAT# PXC100C50 '' | 2023-04-13 | NOS | 1
550014620 | RACHANGA |  | ZSC1 | P | Z022 |  | "Phoenix Make, Moveable, 2ftx1ft ,30W LE | 'Phoenix Make, Moveable, 2ftx1ft ,30W LED Monochromatic led '' | 2022-09-16 | NOS | 1
550013912 | SHRUHO |  | ZSC1 | P | Z022 |  | "Phytonadione Injectable Emulsion USP 1 | Phytonadione Injectable Emulsion USP 1 mg/0.5 mL (Vitamin K1 Injection 1 mg/0.5 mL ) | 2022-06-10 | NOS | 1
550003724 | LAVAMA |  | ZSC1 | P | Z022 | ZM00 | "Planova 20 N Integrity Kit cat.no:AGP-H | 'Planova 20 N Integrity Kit cat.no:AGP-HA20(110 mL)-MFG:Asahi Kasei | 2017-03-16 | ML | 1
550016275 | VINAKUMA |  | ZSC1 | P | Z022 |  | "PNGase F, Recombinant, CAT# P0708L | 'PNGase F, Recombinant, CAT# P0708L '' | 2023-04-13 | NOS | 1
550016397 | VINAKUMA |  | ZSC1 | P | Z022 |  | "POTASSIUM DIHYDROGEN PHOSPHATE, #GRM118 | 'POTASSIUM DIHYDROGEN PHOSPHATE, #GRM1188 '' | 2023-04-24 | PAC | 1
550021580 | VINAKUMA |  | ZSC1 | P | Z022 | ZM00 | "Protein A StandardsSet (A-G), 1mL/vial_ | Protein A StandardsSet (A-G), 1mL/vial_Cygnus_F403'' | 2024-05-03 | NOS | 1
550017193 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Rabbit IgG kit, CAT# 4001 | 'Rabbit IgG kit, CAT# 4001 '' | 2023-05-30 | KIT | 1
550016391 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Racked graduated filter tips-sterile - | 'Racked graduated filter tips-sterile - 200ul, # 528104 '' | 2023-04-24 | PAC | 1
550014389 | SHWSAL |  | ZSC1 | P | Z022 |  | "Regis Whelk-O1(S,S) - Preparative | Regis Whelk-O1(S,S) - Preparative (100 mmL x 4.6 mmID x 3.5u - Part No. 1-780121-300) | 2022-07-29 | NOS | 1
550016517 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Research® plus, single-channel, fixed, | 'Research® plus, single-channel, fixed, 10µL, yellow, CAT# 4.661 843 '''' '' | 2023-04-28 | PAC | 1
550016520 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Research® plus, single-channel, fixed, | 'Research® plus, single-channel, fixed, 100µL, yellow, CAT# 4.661 848 '' | 2023-04-28 | PAC | 1
550016518 | VINAKUMA |  | ZSC1 | P | Z022 |  | "Research® plus, single-channel, fixed, | 'Research® plus, single-channel, fixed, 200µL, yellow, CAT# 4.661 849 '' | 2023-04-28 | PAC | 1